Measurement and Error Analysis

Duy Nguyen, Brayan Hernandez, Ryan Dunford

Tyrone Clinton

PHY1048L - 2230

Sep 4, 2026 (Sep 9, 2026)

- Coin

|  |  | Digital Caliper | Deviation (mm) |  |  | Digital Micrometer | Deviation (mm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Diameter (mm) | ¦xi-average¦ |  |  | Diameter(mm) | ¦xi-average¦ |
|  | 1 | 19.04 | 0.0075 |  | 1 | 19.043 | 0.0015 |
|  | 2 | 19.02 | 0.0125 |  | 2 | 19.042 | 0.0005 |
|  | 3 | 19.04 | 0.0075 |  | 3 | 19.041 | 0.0005 |
|  | 4 | 19.03 | 0.0025 |  | 4 | 19.04 | 0.0015 |
| Average(mm) | = | 19.0325 |  | Average(mm) | = | 19.0415 |  |
| σ (mm) | = | 0.009574271 |  | σ (mm) | = | 0.001290994 |  |
| %error | = | 0.050304853 |  | % error | = | 0.006779899 |  |

Digital Caliper:

Average: 19.04mm + 19.02mm + 19.04mm + 19.03mm  4= 19.0325mm

σ: 19.04mm-19.0325mm2+19.02mm-19.0325mm2+19.04mm-19.0325mm2+19.03mm-19.0325mm24-1=0.009574271mm

%error: =σx*100= 0.009574271mm 19.0325mm*100=0.050304853%≈0.05%

Deviations:

1: |19.04mm - 19.0325mm| = 0.0075mm

2: |19.02mm - 19.0325mm| = 0.0125mm

3: |19.04mm - 19.0325mm| = 0.0075mm

4: |19.04mm - 19.0325mm| = 0.0025mm

Digital Micrometer:

Average: 19.043mm + 19.042mm + 19.041mm + 19.040mm  4= 19.0415mm

σ: 19.043mm-19.0415mm2+19.042mm-19.0415mm2+19.041mm-19.0415mm2+19.04mm-19.0415mm24-1=0.001290994mm

%error: =σx*100= 0.001290994mm  19.0415mm*100=0.006779899%≈0.007%

Deviations:

1: |19.043mm - 19.0415mm | = 0.0015mm

2: |19.042mm - 19.0415mm | = 0.0005mm

3: |19.041mm - 19.0415mm | = 0.0005mm

4: |19.040mm - 19.0415mm | = 0.0015mm

- Thickness of a sheet of paper

|  |  | Single Sheet | Deviation (mm) |  |  | 100 Pages | Deviation (mm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Thickness (mm) | ¦xi-average¦ |  |  | Thickness (mm) | ¦xi-average¦ |
|  | 1 | 0.065 | 0.00325 |  | 1 | 6.4 | 0.09 |
|  | 2 | 0.062 | 0.00625 |  | 2 | 6.49 | 0 |
|  | 3 | 0.076 | 0.00775 |  | 3 | 6.57 | 0.08 |
|  | 4 | 0.07 | 0.00175 |  | 4 | 6.5 | 0.01 |
| Average (mm | )= | 0.06825 |  | Average (mm | )= | 6.49 |  |
| s(mm | )= | 0.006130525 |  | s( mm | )= | 0.069761498 |  |
| % error= |  | 8.982453801 |  | % error= |  | 1.074907526 |  |
|  |  |  |  | Average/100 (mm) |  | 0.0649 | Page Thickness |

Single Sheet:

Average: 0.065mm + 0.062mm + 0.076mm + 0.070mm  4= 0.06825mm

σ: 0.065mm-0.06825mm2+0.062mm-0.06825mm2+0.076mm-0.06825mm2+0.070mm-0.06825mm24-1=0.006130525mm

%error: =σx*100= 0.006130525mm 0.06825mm*100=8.982453801%≈8.98%

Deviations:

1: |0.065mm - 0.06825mm| = 0.00325mm

2: |0.062mm - 0.06825mm| = 0.00625mm

3: |0.076mm - 0.06825mm| = 0.00775mm

4: |0.070mm - 0.06825mm| = 0.00175mm

100 pages:

Average: 6.40mm + 6.49mm + 6.57mm + 6.50mm  4= 6.49mm

σ: 6.40mm-6.49mm2+6.49mm-6.49mm2+6.57mm-6.49mm2+6.50mm-6.49mm24-1=0.069761498mm

%error: =σx*100= 0.069761498mm  6.49mm*100=1.074907526%≈1.07%

Deviations:

1: |6.40mm - 6.49mm | = 0.09mm

2: |6.49mm - 6.49mm | = 0mm

3: |6.57 mm – 6.49mm | = 0.08mm

4: |6.50mm – 6.49mm | = 0.01mm

Average / 100 = 6.49 / 100 = 0.0649mm

- Volume of soda can (𝒎𝟑)

|  |  |  | Deviation (mm) |  |  |  | Deviation (mm) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Height(mm) | ¦xi-average¦ |  |  | Diameter (mm) | ¦xi-average¦ |
|  | 1 | 121.91 | 0.2175 |  | 1 | 65.48 | 0.1625 |
|  | 2 | 121.23 | 0.4625 |  | 2 | 65.55 | 0.0925 |
|  | 3 | 121.84 | 0.1475 |  | 3 | 65.67 | 0.0275 |
|  | 4 | 121.79 | 0.0975 |  | 4 | 65.87 | 0.2275 |
| Average(mm) | = | 121.6925 |  | Average(mm) | = | 65.6425 |  |
| σ (mm) | = | 0.312236556 |  | σ (mm) | = | 0.170758114 |  |
| %error | = | 0.256578306 |  | %error | = | 0.260133471 |  |

Height:

Average:

x=121.91+121.23+121.84+121.794=121.6925 mm

Standard Deviation:

σ=121.91-121.69252+121.23-121.69252+121.84-121.69252+121.79-121.692524-1=0.2924753=0.3122mm

Percentage Error:

%error=σx*100= 0.3122121.6925*100=0.2565% ≈0.26%

Deviations:

1: |121.91mm - 121.6925mm| = 0.2175mm

2: |121.23mm - 121.6925mm| = 0.4625mm

3: |121.84mm - 121.6925mm| = 0.1475mm

4: |121.79mm - 121.6925mm| = 0.0975mm

Diameter:

Average:

x=65.48+65.55+65.67+65.874=65.6425 mm

Standard Deviation:

σ=65.48-65.6425m2+65.55m-65.6425m2+65.67m-65.6425m2+65.87m-65.6425m24-1=0.0988993=0.1708mm

Percentage Error:

%error=σx*100= 0.170865.6425*100=0.2601%≈0.26%

Deviations:

1: |65.48mm - 65.6425mm| = 0.1625mm

2: |65.55mm - 65.6425mm| = 0.0925mm

3: |65.67mm - 65.6425mm| = 0.0275mm

4: |65.87mm - 65.6425mm| = 0.2275mm

Volume of can:

Volume (V=4.12 ×10-4)

We have: d = 65.6425mm = 0.0656425m

h = 121.6925mm = 0.1216925 m

V=πⅆ2h4=π0.0656425m2(0.1216925m)4=4.12×10-4m3

Percentage Error:

%ErrorVolume=2%Errordiameter+%Errorheight=2×0.26%+0.26%=0.78%

Standard Deviation:

v =( %ErrorVolume)×x100=(0.78)×4.12×10-4m3       100=0.03×10-4 m3

- V=4.12±0.03×10-4 0.78% m3

- Density of Water (𝒌𝒈/𝒎𝟑)

|  |  |  | Deviation (mm) |
| --- | --- | --- | --- |
|  |  | Mass(g) | ¦xi-average¦ |
|  | 1 | 368.5 | 0.05 |
|  | 2 | 368.6 | 0.05 |
|  | 3 | 368.6 | 0.05 |
|  | 4 | 368.5 | 0.05 |
| Average(mm) | = | 368.55 |  |
| σ (mm) | = | 0.057735027 |  |
| %error | = | 0.015665453 |  |

Mass

Average:

x=368.5+368.6+368.6+368.54=368.55mm

Standard Deviation:

σ=368.5-368.552+368.6-368.552+368.6-368.552+368.5-368.5524-1=0.013=0.0577mm

Percentage Error:  %error=σx*100= 0.0577368.55*100=0.0157% ≈0.02%

Deviations:

1: |368.5g - 368.55g| = 0.05g

2: |368.6g - 368.5g| = 0.05g

3: |368.6g - 368.55g| = 0.05g

4: |368.5g - 368.55g| = 0.05g

Density

We have 368.55g = 0.36855 kg

Average Density

P=mV=0.36855kg4.12×10-4m3=894.53kgm3

We have 368.5g = 0.3685kg

368.6g = 0.3685kg

P1=m1V=0.3685kg4.12×10-4m3=894.42 kg/m3

P2=m2V=0.36864.12×10-4m3=894.66 kg/m3

P3=m3V=0.36864.12×10-4m3=894.66 kg/m3

P4=m4V=0.3685kg4.12×10-4m3=894.42 kg/m3

Standard Deviation:

σP=894.42-894.532+894.66-894.532+894.66-894.532+ 894.42-894.5324-1=0.138kgm3≈0.14kgm3

Percentage Error:  %errorP= %ErrorVolume+ %ErrorMass= 0.78% +0.02% = 0.80%

P=894.53 ±0.14 0.80%kg/m3

Lab Report
A) When comparing the coin diameter measurements from the digital caliper and digital micrometer, the micrometer was more precise than the caliper. The micrometer had a smaller percent error of.00678 percent, while the caliper had a. percent error of .0503. This shows that the micrometer is better when a more precise measurement is needed.

B) A digital micrometer could measure something as small as a single hair, but it would be complicated to get an accurate measurement.

C) The micrometer’s capability is limited by the size and flexibility of the object. A piece of hair is very thin and could get squeed or bend while being measured. This could cause the measurements to be different each time and create random error.

D) We measure one sheet of paper and 100 sheets of paper to compare the values and determine which measurement has a higher precision for a single sheet of paper. Dividing the average thickness of 100 sheets of paper by 100, we get a more precise measurement for a single sheet of paper compared to the measurements of a single sheet of paper which has an 8.98% error.

E) The results of density calculations were surprising because the expected density of water is 1000 kg/m^3, however our calculations gave us a density of P = 894.53 +/- 0.14 (0.80%) kg/m^3. Our density is approximately 100 kg/m^3 less than the density of water because our volume formula assumes the can is a perfect cylinder, which the can is not so there is extra volume giving us a less dense liquid measurement.

F) Our calculations gave us a volume measurement of V = 4.12 +/- 0.03 * 10^-4 (0.78%) m^3, which is approximately 13.9 fluid ounces. The volume of the can we measured is 12 fluid ounces, so our calculated volume is marginally larger than the actual volume of the can. Once again, this is because of the volume formula we used which assumes the can is a perfect cylinder and in reality the can has less volume than a cylinder, so our calculations overestimate the total volume of the can.

G) The calculations of volume and density are approximations so they cannot be interpreted as exact values. The error in volume and density is a systematic error based on the volume of a cylinder formula, so it is affecting the accuracy of our calculations. Our penny measurements using both a digital caliper and digital micrometer are accurate and precise so the percent error is insignificantly small. Our single sheet measurements have a percent error of 8.9% which is caused by random errors in our measurements between attempts, but our 100 sheets of paper measurements are more precise with a percent error of 1%, giving us a more precise value for the thickness of a single sheet of paper. For our mass of the can measurements, each attempt has very little deviation between values, so our measurements are precise and accurate to the real value.